## Slide 1: Scheme development of tidal energy
BY:G.SOWMYA
22H51A0588

## Slide 2: WHAT IS TIDAL ENERGY?
Tidal energy is the electrical energy that is generating by harnessing the movement of the tides in the ocean.
The principle behind tidal energy:
Tidal energy works with a turbine which works like a wind turbine, with blades rotating depending on the strength of the tide. This turbine is connected to a gearbox that turns a generator, to create electricity.

## Slide 3: DEVELOPMENT OF TIDAL ENERGY
Developing tidal energy involves harnessing the kinetic energy of tides and converting it into electricity.
Resource Assessment:
Identify potential tidal energy sites: Evaluate coastal areas with strong tidal currents and high tidal ranges.
Collect data on tidal patterns, water depths, and local environmental conditions.
Feasibility Studies:
Conduct detailed feasibility studies to assess the economic, technical, and environmental viability of tidal energy projects.
Consider factors such as energy output, infrastructure requirements, and potential impact on marine ecosystems.

## Slide 4
Site Selection:
Choose optimal sites based on the feasibility studies, considering factors like tidal range, water depth, and proximity to electrical grids.
Design and Engineering:
Develop detailed engineering plans and designs for the chosen tidal energy system, considering factors such as turbine design, foundation structures, and electrical systems.
Construction:
Build the necessary infrastructure, including tidal turbines or barrages, subsea cables, and grid connection facilities.
Implement construction plans for both onshore and offshore components.

## Slide 5
Operation and Maintenance:
Implement an operation and maintenance plan to ensure ongoing efficiency and reliability.
Monitor environmental impacts and implement measures to mitigate any adverse effects.
Community Engagement:
Engage with local communities and stakeholders throughout the development process.
Address concerns, provide information, and ensure transparency.
Operation and Maintenance:
Implement an operation and maintenance plan to ensure ongoing efficiency and reliability.
Monitor environmental impacts and implement measures to mitigate any adverse effects.

## Slide 6: ADVANTAGES OF TIDAL ENERGY
Tidal energy is one of the cleanest renewable energy sources, it doesn’t need any fossil fuel and hence has zero carbon dioxide (CO2 ) emission.
It is a highly predictable energy source.
Operational and maintenance costs are low.
An inexhaustible source of energy.

## Slide 7: THANK YOU